## BOQ
Item Code | Description | Unit | Qty | Rate ($) | Amount ($)
1 | Preliminaries & Site Establishment |  |  |  | 69541.72
1.1 | Establishment |  |  |  | 49539.55
1.1.1 | Site establishment, mobilisation & demob | Item | 1 | 42405.18 | 42405.18
1.1.2 | Project signage as per spec cl 4.2 | ea | 3.6 | 1981.77 | 7134.37
1.2 | Ongoing Site Costs |  |  |  | 20002.17
1.2.1 | Dilapidation surveys & CCTV existing assets (refer dwg C-409) | item | 2 | 4492.07 | 8984.14
1.2.2 | Environmental controls - sed. fence, shaker grid etc | LS | 1 | 11018.0339 | 11018.03
2 | Bulk & Detailed Earthworks |  |  |  | 675915.12
2.1 | Bulk Earthworks |  |  |  | 42680.06
2.1.1 | Excavate unsuitable mat. & replace w/ approved fill | m³ | 415 | 55.5 | 23032.5
2.1.2 | Excavation in rock, Class A (jack hammer/rock saw) | m3 | 114.23 | 172 | 19647.56
2.2 | Detailed Earthworks |  |  |  | 633235.06
2.2.1 | Bulk earthworks - cut to fill on site | m³ | 17440 | 15.2819 | 266516.34
2.2.2 | Import & place select fill (VENM cert. req.) | m³ | 8161.5 | 43.5 | 355025.25
2.2.3 | Batter shaping & topsoil respread 100mm | m² | 2884 | 4.0546 | 11693.47
3 | STORMWATER DRAINAGE |  |  |  | 308628.46
3.1 | Stormwater Drainage |  |  |  | 308628.46
3.1.1 | Junction pits 900x900 precast incl. lid | each | 11.5 | 2720 | 31280
3.1.2 | Supply & lay 600dia RCP RRJ Cl.4 | lm | 96 | 439.935 | 42233.76
3.1.3 | Supply & lay 375dia RCP RRJ Cl.2-3 incl. bedding | LM | 320 | 281.31 | 90019.2
3.1.4 | Grated inlet pits SA2 type incl. lintel | each | 7 | 5256.5 | 36795.5
3.1.5 | Precast headwall to suit 450dia | No. | 5 | 4582 | 22910
3.1.6 | Connect new line to exist. pit incl. core & benching | each | 5 | 1576 | 7880
3.1.7 | Supply & lay 450dia RCP RRJ Cl.3 | lm | 230 | 337 | 77510
4 | Public Utilities & Services |  |  |  | 702985.04
4.1 | Wet Services |  |  |  | 271326.35
4.1.1 | Electrical conduits 100dia incl. trench & marker tape | m | 2102 | 63.62 | 133729.24
4.1.2 | Service crossings - potholing & protection (Telstra/APA) | item | 2.8 | 3398.3924 | 9515.5
4.1.3 | DN100 PE watermain S&L incl. fittings & thrust blocks | m | 1076.84 | 118.9421 | 128081.61
4.2 | Dry Services / Electrical |  |  |  | 431658.69
4.2.1 | Street lighting incl. poles, luminaires & pits | each | 15 | 6957 | 104355
4.2.2 | Comms conduits P50 x2 incl. pits (NBN spec) | lm | 320.25 | 60.0259 | 19223.29
4.2.3 | DN150 PVC sewer S&L @ min grade incl. compaction test | lm | 1251.9 | 216 | 270410.4
4.2.4 | Sewer maintenance holes 1050dia precast | each | 5 | 7534 | 37670
5 | CONCRETE WORKS |  |  |  | 636609.83
5.1 | Concrete Works |  |  |  | 636609.83
5.1.1 | Kerb & channel B2 barrier type (machine extruded) | lm | 897 | 61.7754 | 55412.53
5.1.2 | Supply & fix reinforcement (all grades) | tonne | 75 | 2365 | 177375
5.1.3 | Vehicle crossings 150thk reinforced | m2 | 400 | 122.5 | 49000
5.1.4 | Supply & place N32 conc. footings incl. exc. & reo | m3 | 394 | 400.5 | 157797
5.1.5 | Supply & place N40 slab on grade 200thk incl. SL82 * | sqm | 833 | 68 | 56644
5.1.6 | Pram ramps to AS1428.1 incl. TGSIs | No. | 14.27 | 2320 | 33106.4
5.1.7 | Concrete footpath 125thk broom finish (refer dwg C-404) | m2 | 1637 | 65.5314 | 107274.9
6 | Flexible Pavements & Surfacing |  |  |  | 413131.52
6.1 | Flexible Pavements & Surfacing |  |  |  | 413131.52
6.1.1 | AC10 wearing course 30thk (A15E on approaches) * | m² | 3211.4 | 23.05 | 74022.77
6.1.2 | Longitudinal linemarking & RRPMs as per dwgs (refer dwg C-106) | m | 2136 | 4.3913 | 9379.82
6.1.3 | Supply & place DGB20 basecourse 150thk | m2 | 5843 | 32 | 186976
6.1.4 | Segmental paving to median (Urbanstone or equiv.) | m2 | 711 | 125.63 | 89322.93
6.1.5 | Supply & place DGS40 subbase 200thk compacted | m2 | 2055 | 26 | 53430
P | PROVISIONAL ITEMS & DAYWORKS |  |  |  | 130000.21
P.1 | Provisional Sums & Quantities |  |  |  | 130000.21
P.1.1 | Dayworks - project engineer | hr | 64 | 126.77 | 8113.28
P.1.2 | Contaminated material - excavate, test & dispose (PROV) | t | 169 | 315.11 | 53253.59
P.1.3 | Rock excavation over & above measured qty (PROV) | m3 | 299 | 159.16 | 47588.84
P.1.4 | Dayworks - labourer incl. small tools | hr | 85 | 97 | 8245
P.1.5 | Latent conditions allowance (PROV SUM) | item | 1 | 12799.5 | 12799.5
|  |  |  | TOTAL | 2936811.9

## Budget
Aurora Business Park - Civil Infrastructure Pkg 1
INTERNAL COST BUDGET - CONFIDENTIAL - NOT FOR ISSUE
Client: Aurora Developments Pty Ltd |  | Prepared: 23/06/2026 ¦ Rev C ¦ ML
Budget method: WBS / Resource Breakdown
Item Code | Description | Resource Category | BOQ ($) | Budget ($) | Notes
1.1.1 | Site establishment, mobilisation & demob | Labour | 24795 | 21867
|  | Miscellaneous | 17610.18 | 15531
| 1.1.1 subtotal |  | 42405.18 | 37398
1.1.2 | Project signage as per spec cl 4.2 | Labour | 3338 | 2983
|  | Miscellaneous | 2217 | 1981
|  | Plant and Equipment | 1579.37 | 1412
| 1.1.2 subtotal |  | 7134.37 | 6376
1.2.1 | Dilapidation surveys & CCTV existing assets (refer dwg C-409) | Labour | 5302 | 4840
|  | Miscellaneous | 3682.14 | 3360 | incl. cartage
| 1.2.1 subtotal |  | 8984.14 | 8200
1.2.2 | Environmental controls - sed. fence, shaker grid etc | Labour | 5179 | 4744
|  | Miscellaneous | 3484 | 3191
|  | Plant and Equipment | 2355.03 | 2157
| 1.2.2 subtotal |  | 11018.03 | 10092
2.1.1 | Excavate unsuitable mat. & replace w/ approved fill | Plant and Equipment | 14537 | 12074
|  | Labour | 5803 | 4819
|  | Material | 2692.5 | 2236
| 2.1.1 subtotal |  | 23032.5 | 19129
2.1.2 | Excavation in rock, Class A (jack hammer/rock saw) | Plant and Equipment | 12559 | 10963
|  | Labour | 4347 | 3795
|  | Material | 2741.56 | 2392
| 2.1.2 subtotal |  | 19647.56 | 17150
2.2.1 | Bulk earthworks - cut to fill on site | Plant and Equipment | 180620 | 159939
|  | Labour | 85896.34 | 76061
| 2.2.1 subtotal |  | 266516.34 | 236000
2.2.2 | Import & place select fill (VENM cert. req.) | Plant and Equipment | 182208 | 151752
|  | Labour | 81830 | 68152 | allow for wet weather
|  | Material | 51488 | 42882 | quote expires 30/7
|  | Miscellaneous | 39499.25 | 32897
| 2.2.2 subtotal |  | 355025.25 | 295683
2.2.3 | Batter shaping & topsoil respread 100mm | Plant and Equipment | 6999 | 6330
|  | Labour | 2734 | 2473
|  | Material | 1960.47 | 1774
| 2.2.3 subtotal |  | 11693.47 | 10577
3.1.1 | Junction pits 900x900 precast incl. lid | Material | 15037 | 12873
|  | Labour | 7997 | 6846 | check qty vs dwg rev D
|  | Plant and Equipment | 8246 | 7060
| 3.1.1 subtotal |  | 31280 | 26779
3.1.2 | Supply & lay 600dia RCP RRJ Cl.4 | Material | 18927 | 17177 | site mtg 2/7 - qty TBC w/ super
|  | Labour | 13880 | 12597
|  | Plant and Equipment | 9426.76 | 8555
| 3.1.2 subtotal |  | 42233.76 | 38329
3.1.3 | Supply & lay 375dia RCP RRJ Cl.2-3 incl. bedding | Material | 46099 | 38356
|  | Labour | 24200 | 20135
|  | Plant and Equipment | 19720.2 | 16409
| 3.1.3 subtotal |  | 90019.2 | 74900
3.1.4 | Grated inlet pits SA2 type incl. lintel | Material | 17588 | 15893
|  | Labour | 10945 | 9891
|  | Plant and Equipment | 8262.5 | 7466 | site mtg 2/7 - qty TBC w/ super
| 3.1.4 subtotal |  | 36795.5 | 33250
3.1.5 | Precast headwall to suit 450dia | Material | 10228 | 9015 | carried from tender est.
|  | Labour | 7283 | 6419
|  | Plant and Equipment | 5399 | 4758
| 3.1.5 subtotal |  | 22910 | 20192
3.1.6 | Connect new line to exist. pit incl. core & benching | Material | 3367 | 3021
|  | Labour | 2175 | 1951
|  | Plant and Equipment | 1559 | 1398
|  | Subcontract | 779 | 699
| 3.1.6 subtotal |  | 7880 | 7069
3.1.7 | Supply & lay 450dia RCP RRJ Cl.3 | Material | 30388 | 26069
|  | Labour | 23063 | 19785
|  | Plant and Equipment | 16879 | 14480
|  | Subcontract | 7180 | 6159
| 3.1.7 subtotal |  | 77510 | 66493
4.1.1 | Electrical conduits 100dia incl. trench & marker tape | Subcontract | 100600 | 83372
|  | Material | 19651 | 16285
|  | Miscellaneous | 13478.24 | 11171
| 4.1.1 subtotal |  | 133729.24 | 110828
4.1.2 | Service crossings - potholing & protection (Telstra/APA) | Subcontract | 8188 | 7099
|  | Material | 1327.5 | 1151
| 4.1.2 subtotal |  | 9515.5 | 8250
4.1.3 | DN100 PE watermain S&L incl. fittings & thrust blocks | Subcontract | 88491 | 79073
|  | Material | 24984 | 22325 | PC sum
|  | Miscellaneous | 14606.61 | 13052
| 4.1.3 subtotal |  | 128081.61 | 114450
4.2.1 | Street lighting incl. poles, luminaires & pits | Subcontract | 74185 | 64303
|  | Material | 19586 | 16977 | check qty vs dwg rev D
|  | Miscellaneous | 10584 | 9175 | check qty vs dwg rev D
| 4.2.1 subtotal |  | 104355 | 90455
4.2.2 | Comms conduits P50 x2 incl. pits (NBN spec) | Subcontract | 16111 | 14282
|  | Material | 3112.29 | 2759
| 4.2.2 subtotal |  | 19223.29 | 17041
4.2.3 | DN150 PVC sewer S&L @ min grade incl. compaction test | Subcontract | 203838 | 171026
|  | Material | 38877 | 32618
|  | Miscellaneous | 27695.4 | 23238
| 4.2.3 subtotal |  | 270410.4 | 226882
4.2.4 | Sewer maintenance holes 1050dia precast | Subcontract | 28855 | 25607
|  | Material | 5192 | 4608 | allow for wet weather
|  | Miscellaneous | 3623 | 3214 | allow for wet weather
| 4.2.4 subtotal |  | 37670 | 33429
5.1.1 | Kerb & channel B2 barrier type (machine extruded) | Material | 29202 | 25876
|  | Labour | 17766 | 15742
|  | Subcontract | 8444.53 | 7482
| 5.1.1 subtotal |  | 55412.53 | 49100
5.1.2 | Supply & fix reinforcement (all grades) | Material | 88390 | 78735
|  | Labour | 60002 | 53447
|  | Subcontract | 28983 | 25818
| 5.1.2 subtotal |  | 177375 | 158000
5.1.3 | Vehicle crossings 150thk reinforced | Material | 21466 | 18864
|  | Labour | 16554 | 14548
|  | Subcontract | 6486 | 5700
|  | Plant and Equipment | 4494 | 3950
| 5.1.3 subtotal |  | 49000 | 43062
5.1.4 | Supply & place N32 conc. footings incl. exc. & reo | Material | 70236 | 60935
|  | Labour | 50953 | 44205
|  | Subcontract | 20608 | 17879 | sub quote - CivilTech 14/6
|  | Plant and Equipment | 16000 | 13881
| 5.1.4 subtotal |  | 157797 | 136900
5.1.5 | Supply & place N40 slab on grade 200thk incl. SL82 * | Material | 29305 | 25499 | allow for wet weather
|  | Labour | 19421 | 16899
|  | Subcontract | 7918 | 6889
| 5.1.5 subtotal |  | 56644 | 49287
5.1.6 | Pram ramps to AS1428.1 incl. TGSIs | Material | 17049 | 14265
|  | Labour | 10875 | 9099
|  | Subcontract | 5182.4 | 4336
| 5.1.6 subtotal |  | 33106.4 | 27700
5.1.7 | Concrete footpath 125thk broom finish (refer dwg C-404) | Material | 58808 | 50047
|  | Labour | 32581 | 27727
|  | Subcontract | 15885.9 | 13519
| 5.1.7 subtotal |  | 107274.9 | 91293
6.1.1 | AC10 wearing course 30thk (A15E on approaches) * | Subcontract | 55141 | 49910 | rate ex GST
|  | Material | 18881.77 | 17090
| 6.1.1 subtotal |  | 74022.77 | 67000
6.1.2 | Longitudinal linemarking & RRPMs as per dwgs (refer dwg C-106) | Subcontract | 5868 | 5169
|  | Material | 1770 | 1559
|  | Plant and Equipment | 929 | 818
|  | Labour | 812.82 | 716
| 6.1.2 subtotal |  | 9379.82 | 8262
6.1.3 | Supply & place DGB20 basecourse 150thk | Subcontract | 124327 | 107686 | PC sum
|  | Material | 41558 | 35995 | rate ex GST
|  | Plant and Equipment | 21091 | 18269
| 6.1.3 subtotal |  | 186976 | 161950
6.1.4 | Segmental paving to median (Urbanstone or equiv.) | Subcontract | 57052 | 52439
|  | Material | 20352 | 18706
|  | Plant and Equipment | 11918.93 | 10955
| 6.1.4 subtotal |  | 89322.93 | 82100
6.1.5 | Supply & place DGS40 subbase 200thk compacted | Subcontract | 34469 | 28599 | allow for wet weather
|  | Material | 12594 | 10450
|  | Plant and Equipment | 6367 | 5282 | check qty vs dwg rev D
| 6.1.5 subtotal |  | 53430 | 44331