## BOQ
Item Code | Description | Unit | Qty | Rate ($) | Amount ($)
1 | Preliminaries & Site Establishment |  |  |  | 113913.82
1.1 | Establishment |  |  |  | 80183.8
1.1.1 | Survey & set-out (all works) | LS | 1 | 16341 | 16341
1.1.2 | Site establishment, mobilisation & demob | Item | 1 | 19570 | 19570
1.1.3 | Traffic management incl. TMP & permits | item | 11.7 | 3784 | 44272.8
1.2 | Ongoing Site Costs |  |  |  | 33730.02
1.2.1 | Dilapidation surveys & CCTV existing assets | item | 1.4 | 2204 | 3085.6
1.2.2 | Project signage as per spec cl 4.2 | No. | 2.5 | 1109 | 2772.5
1.2.3 | Site office, amenities & temp fencing (refer dwg C-105) | wks | 20 | 1393.5962 | 27871.92
2 | DEMOLITION & SITE CLEARING |  |  |  | 80110.89
2.1 | Demolition & Site Clearing - Part A |  |  |  | 44906.42
2.1.1 | Remove exist. kerb & channel & dispose (refer dwg C-409) | m | 150 | 25.6427 | 3846.41
2.1.2 | Strip topsoil 150mm & stockpile on site | m³ | 4308.5 | 9.53 | 41060.01
2.2 | Demolition & Site Clearing - Part B |  |  |  | 35204.47
2.2.1 | Saw cut & demolish exist. concrete pavement | m2 | 182.68 | 29.8329 | 5449.87
2.2.2 | Clear & grub incl. removal offsite | m2 | 5892 | 5.05 | 29754.6
3 | Bulk & Detailed Earthworks |  |  |  | 836307.23
3.1 | Bulk & Detailed Earthworks |  |  |  | 836307.23
3.1.1 | Batter shaping & topsoil respread 100mm | m2 | 4643 | 7 | 32501
3.1.2 | Trim & proof roll subgrade (incl. Level 1 testing) | m2 | 21780 | 6.7899 | 147884.02
3.1.3 | Excavation in rock, Class A (jack hammer/rock saw) | m3 | 59 | 159.5 | 9410.5
3.1.4 | Import & place select fill (VENM cert. req.) | m³ | 7795 | 49.47 | 385618.65
3.1.5 | Bulk earthworks - cut to fill on site | m3 | 19254.1 | 13.55 | 260893.06
4 | Stormwater Drainage |  |  |  | 183912.21
4.1 | Pipelines |  |  |  | 61966.36
4.1.1 | Grated inlet pits SA2 type incl. lintel | No. | 4 | 4937.13 | 19748.52
4.1.2 | Supply & lay 600dia RCP RRJ Cl.4 | lm | 118.37 | 356.66 | 42217.84
4.2 | Pits & Structures |  |  |  | 121945.85
4.2.1 | GPT unit supply & install (Rocla CDS or approved equiv.) | item | 2.21 | 45615 | 100809.15
4.2.2 | Subsoil drainage 100dia slotted incl. sock & trench | m | 458 | 46.15 | 21136.7
5 | FLEXIBLE PAVEMENTS & SURFACING |  |  |  | 1001830.02
5.1 | Flexible Pavements & Surfacing |  |  |  | 1001830.02
5.1.1 | AC10 wearing course 30thk (A15E on approaches) | m2 | 13580.46 | 34.53 | 468933.28
5.1.2 | Segmental paving to median (Urbanstone or equiv.) | m² | 177.09 | 136.3215 | 24141.17
5.1.3 | AC14 intermediate course 50thk (C320) | m² | 11681 | 43.08 | 503217.48
5.1.4 | Longitudinal linemarking & RRPMs as per dwgs | lm | 2112 | 2.6222 | 5538.09
6 | Public Utilities & Services |  |  |  | 156080.63
6.1 | Wet Services |  |  |  | 61225.83
6.1.1 | DN150 PVC sewer S&L @ min grade incl. compaction test | m | 182 | 212.6486 | 38702.05
6.1.2 | Fire hydrants incl. valve & surface box | ea | 6 | 3753.9631 | 22523.78
6.2 | Dry Services / Electrical |  |  |  | 94854.8
6.2.1 | Comms conduits P50 x2 incl. pits (NBN spec) | m | 772.4 | 39.5 | 30509.8
6.2.2 | Sewer maintenance holes 1050dia precast | each | 10 | 6434.5 | 64345
7 | Landscaping & Urban Design |  |  |  | 314393.69
7.1 | Landscaping & Urban Design |  |  |  | 314393.69
7.1.1 | Irrigation to medians - drip incl. controller (refer dwg C-208) | LS | 1 | 41433.8159 | 41433.82
7.1.2 | Street furniture — seats, bins & bike hoops | LS | 1 | 19452.7498 | 19452.75
7.1.3 | Turf - kikuyu rolls incl. estab. watering 12wks (refer dwg C-406) | m² | 5789 | 16.4902 | 95461.77
7.1.4 | Garden beds - mulch 75thk & planting as per LA dwgs | m² | 1437.7 | 64.0667 | 92108.69
7.1.5 | Imported topsoil 100thk spread to verges (refer dwg C-105) | m² | 7812.4 | 8.44 | 65936.66
P | PROVISIONAL ITEMS & DAYWORKS |  |  |  | 126967.76
P.1 | Provisional Sums & Quantities |  |  |  | 126967.76
P.1.1 | Dayworks - project engineer | hrs | 59 | 161 | 9499
P.1.2 | Dayworks - 20t excavator incl. operator | hrs | 93 | 197 | 18321
P.1.3 | Service relocations - allowance (PROV SUM) | item | 1 | 26436.359 | 26436.36
P.1.4 | Contaminated material - excavate, test & dispose (PROV) | m3 | 78 | 386.3 | 30131.4
P.1.5 | Latent conditions allowance (PROV SUM) | item | 1 | 42580 | 42580
|  |  |  | TOTAL | 2813516.25

## Budget
Wallan East Commuter Carpark Expansion
INTERNAL COST BUDGET - CONFIDENTIAL - NOT FOR ISSUE
Client: Level Crossing Removal Project |  | Prepared: 12/06/2026 ¦ Rev 0 ¦ DK
Budget method: WBS / Resource Breakdown
Item Code | Description | Resource Category | BOQ ($) | Budget ($) | Notes
1.1.1 | Survey & set-out (all works) | Labour | 7997 | 6168
|  | Miscellaneous | 5001 | 3857
|  | Plant and Equipment | 3343 | 2579
| 1.1.1 subtotal |  | 16341 | 12604
1.1.2 | Site establishment, mobilisation & demob | Labour | 10466 | 8396
|  | Miscellaneous | 9104 | 7304
| 1.1.2 subtotal |  | 19570 | 15700
1.1.3 | Traffic management incl. TMP & permits | Labour | 18747 | 14863
|  | Miscellaneous | 15074 | 11951
|  | Plant and Equipment | 10451.8 | 8286 | allow for wet weather
| 1.1.3 subtotal |  | 44272.8 | 35100
1.2.1 | Dilapidation surveys & CCTV existing assets | Labour | 1427 | 1080
|  | Miscellaneous | 1026 | 777
|  | Plant and Equipment | 632.6 | 479 | incl. cartage
| 1.2.1 subtotal |  | 3085.6 | 2336
1.2.2 | Project signage as per spec cl 4.2 | Labour | 1455 | 1092
|  | Miscellaneous | 1317.5 | 988
| 1.2.2 subtotal |  | 2772.5 | 2080
1.2.3 | Site office, amenities & temp fencing (refer dwg C-105) | Labour | 12494 | 10265
|  | Miscellaneous | 9467 | 7778
|  | Plant and Equipment | 5910.92 | 4857
| 1.2.3 subtotal |  | 27871.92 | 22900
2.1.1 | Remove exist. kerb & channel & dispose (refer dwg C-409) | Plant and Equipment | 2050 | 1667
|  | Labour | 959 | 779
|  | Subcontract | 837.41 | 681
| 2.1.1 subtotal |  | 3846.41 | 3127
2.1.2 | Strip topsoil 150mm & stockpile on site | Plant and Equipment | 21735 | 17605
|  | Labour | 10389 | 8415
|  | Subcontract | 8936.01 | 7237 | quote expires 30/7
| 2.1.2 subtotal |  | 41060.01 | 33257
2.2.1 | Saw cut & demolish exist. concrete pavement | Plant and Equipment | 2431 | 1851
|  | Labour | 1569 | 1195
|  | Subcontract | 1137 | 866
|  | Miscellaneous | 312.87 | 238
| 2.2.1 subtotal |  | 5449.87 | 4150
2.2.2 | Clear & grub incl. removal offsite | Plant and Equipment | 18577 | 14324
|  | Labour | 11177.6 | 8619
| 2.2.2 subtotal |  | 29754.6 | 22943
3.1.1 | Batter shaping & topsoil respread 100mm | Plant and Equipment | 21203 | 17092
|  | Labour | 7290 | 5877
|  | Material | 4008 | 3231
| 3.1.1 subtotal |  | 32501 | 26200
3.1.2 | Trim & proof roll subgrade (incl. Level 1 testing) | Plant and Equipment | 100514 | 86829
|  | Labour | 47370.02 | 40921
| 3.1.2 subtotal |  | 147884.02 | 127750
3.1.3 | Excavation in rock, Class A (jack hammer/rock saw) | Plant and Equipment | 5765 | 4649 | PC sum
|  | Labour | 2346 | 1892
|  | Material | 1299.5 | 1048 | incl. cartage
| 3.1.3 subtotal |  | 9410.5 | 7589
3.1.4 | Import & place select fill (VENM cert. req.) | Plant and Equipment | 229935 | 181143
|  | Labour | 98729 | 77779 | check qty vs dwg rev D
|  | Material | 56954.65 | 44868
| 3.1.4 subtotal |  | 385618.65 | 303790
3.1.5 | Bulk earthworks - cut to fill on site | Plant and Equipment | 146746 | 117148
|  | Labour | 71316 | 56932
|  | Material | 42831.06 | 34192
| 3.1.5 subtotal |  | 260893.06 | 208272
4.1.1 | Grated inlet pits SA2 type incl. lintel | Material | 8683 | 6929
|  | Labour | 6270 | 5003
|  | Plant and Equipment | 4795.52 | 3826
| 4.1.1 subtotal |  | 19748.52 | 15758
4.1.2 | Supply & lay 600dia RCP RRJ Cl.4 | Material | 18413 | 13673
|  | Labour | 10690 | 7938
|  | Plant and Equipment | 8770 | 6512
|  | Subcontract | 4344.84 | 3227
| 4.1.2 subtotal |  | 42217.84 | 31350
4.2.1 | GPT unit supply & install (Rocla CDS or approved equiv.) | Material | 65294 | 49431
|  | Labour | 35515.15 | 26887
| 4.2.1 subtotal |  | 100809.15 | 76318
4.2.2 | Subsoil drainage 100dia slotted incl. sock & trench | Material | 10318 | 7786
|  | Labour | 5571 | 4204
|  | Plant and Equipment | 5247.7 | 3960
| 4.2.2 subtotal |  | 21136.7 | 15950
5.1.1 | AC10 wearing course 30thk (A15E on approaches) | Subcontract | 281010 | 226439
|  | Material | 125822 | 101388
|  | Plant and Equipment | 62101.28 | 50041
| 5.1.1 subtotal |  | 468933.28 | 377868
5.1.2 | Segmental paving to median (Urbanstone or equiv.) | Subcontract | 15037 | 11020
|  | Material | 5899 | 4323
|  | Plant and Equipment | 3205.17 | 2349
| 5.1.2 subtotal |  | 24141.17 | 17692
5.1.3 | AC14 intermediate course 50thk (C320) | Subcontract | 315283 | 256284
|  | Material | 130453 | 106041
|  | Plant and Equipment | 57481.48 | 46725
| 5.1.3 subtotal |  | 503217.48 | 409050
5.1.4 | Longitudinal linemarking & RRPMs as per dwgs | Subcontract | 2966 | 2344 | sub quote - CivilTech 14/6
|  | Material | 1398 | 1105
|  | Plant and Equipment | 758 | 599
|  | Labour | 416.09 | 329
| 5.1.4 subtotal |  | 5538.09 | 4377
6.1.1 | DN150 PVC sewer S&L @ min grade incl. compaction test | Subcontract | 27220 | 21697
|  | Material | 6973 | 5558
|  | Miscellaneous | 4509.05 | 3595
| 6.1.1 subtotal |  | 38702.05 | 30850
6.1.2 | Fire hydrants incl. valve & surface box | Subcontract | 18477 | 13864
|  | Material | 4046.78 | 3036
| 6.1.2 subtotal |  | 22523.78 | 16900
6.2.1 | Comms conduits P50 x2 incl. pits (NBN spec) | Subcontract | 22537 | 16389
|  | Material | 5202 | 3783
|  | Miscellaneous | 2770.8 | 2016 | rate ex GST
| 6.2.1 subtotal |  | 30509.8 | 22188
6.2.2 | Sewer maintenance holes 1050dia precast | Subcontract | 50123 | 37625
|  | Material | 8892 | 6675 | carried from tender est.
|  | Miscellaneous | 5330 | 4000
| 6.2.2 subtotal |  | 64345 | 48300
7.1.1 | Irrigation to medians - drip incl. controller (refer dwg C-208) | Subcontract | 21729 | 18465
|  | Material | 11347 | 9642 | check qty vs dwg rev D
|  | Labour | 8357.82 | 7103
| 7.1.1 subtotal |  | 41433.82 | 35210
7.1.2 | Street furniture — seats, bins & bike hoops | Subcontract | 10036 | 7689
|  | Material | 5915 | 4532
|  | Labour | 3501.75 | 2683
| 7.1.2 subtotal |  | 19452.75 | 14904
7.1.3 | Turf - kikuyu rolls incl. estab. watering 12wks (refer dwg C-406) | Subcontract | 63550 | 53225
|  | Material | 31911.77 | 26727
| 7.1.3 subtotal |  | 95461.77 | 79952
7.1.4 | Garden beds - mulch 75thk & planting as per LA dwgs | Subcontract | 52754 | 41136
|  | Material | 25813 | 20128
|  | Labour | 13541.69 | 10560 | sub quote - CivilTech 14/6
| 7.1.4 subtotal |  | 92108.69 | 71824
7.1.5 | Imported topsoil 100thk spread to verges (refer dwg C-105) | Subcontract | 36649 | 29459 | quote expires 30/7
|  | Material | 18835 | 15139 | carried from tender est.
|  | Labour | 10452.66 | 8402
| 7.1.5 subtotal |  | 65936.66 | 53000