## BOQ
Item Code | Description | Unit | Qty | Rate ($) | Amount ($)
1 | PRELIMINARIES & SITE ESTABLISHMENT |  |  |  | 136170.93
1.1 | Establishment |  |  |  | 31027.24
1.1.1 | Survey & set-out (all works) | LS | 1 | 15311 | 15311
1.1.2 | Dilapidation surveys & CCTV existing assets | ea | 3.22 | 4880.8213 | 15716.24
1.2 | Ongoing Site Costs |  |  |  | 105143.69
1.2.1 | Traffic management incl. TMP & permits | item | 20 | 4576 | 91520
1.2.2 | Site office, amenities & temp fencing | week | 14.85 | 917.42 | 13623.69
2 | BULK & DETAILED EARTHWORKS |  |  |  | 337749.89
2.1 | Bulk Earthworks |  |  |  | 58857.3
2.1.1 | Trim & proof roll subgrade (incl. Level 1 testing) | m² | 4590 | 3.07 | 14091.3
2.1.2 | Bulk earthworks - cut to fill on site (refer dwg C-104) | m³ | 4974 | 9 | 44766
2.2 | Detailed Earthworks |  |  |  | 278892.59
2.2.1 | Batter shaping & topsoil respread 100mm | m² | 3230.8 | 4 | 12923.2
2.2.2 | Excavate unsuitable mat. & replace w/ approved fill | m³ | 848.9 | 57 | 48387.3
2.2.3 | Import & place select fill (VENM cert. req.) | m3 | 4103 | 53.03 | 217582.09
3 | STORMWATER DRAINAGE |  |  |  | 147462.63
3.1 | Pipelines |  |  |  | 108821.88
3.1.1 | Supply & lay 450dia RCP RRJ Cl.3 | lm | 257.96 | 246.48 | 63581.98
3.1.2 | Subsoil drainage 100dia slotted incl. sock & trench | m | 1222.7 | 37 | 45239.9
3.2 | Pits & Structures |  |  |  | 38640.75
3.2.1 | Supply & lay 600dia RCP RRJ Cl.4 | m | 55 | 429.5 | 23622.5
3.2.2 | Connect new line to exist. pit incl. core & benching (refer dwg C-108) | each | 6.5 | 2310.5 | 15018.25
4 | Flexible Pavements & Surfacing |  |  |  | 1162675.61
4.1 | Granular Pavements |  |  |  | 900421.59
4.1.1 | Prime & 2 coat seal 14/7 (incl. sweep) | m2 | 17220.2 | 11.37 | 195793.67
4.1.2 | AC14 intermediate course 50thk (C320) | m2 | 15160.16 | 33.4036 | 506403.92
4.1.3 | Supply & place DGS40 subbase 200thk compacted | m² | 15248 | 13 | 198224
4.2 | Asphalt & Surfacing |  |  |  | 262254.02
4.2.1 | Longitudinal linemarking & RRPMs as per dwgs | m | 4366 | 4.5604 | 19910.71
4.2.2 | Segmental paving to median (Urbanstone or equiv.) (refer dwg C-406) | m2 | 332 | 114.3639 | 37968.81
4.2.3 | AC10 wearing course 30thk (A15E on approaches) | m² | 4115.5 | 23 | 94656.5
4.2.4 | Supply & place DGB20 basecourse 150thk | m² | 7837 | 14 | 109718
5 | Public Utilities & Services |  |  |  | 609438.89
5.1 | Wet Services |  |  |  | 264356.48
5.1.1 | Service crossings - potholing & protection (Telstra/APA) | item | 10 | 4256.7562 | 42567.56
5.1.2 | Sewer maintenance holes 1050dia precast | each | 2 | 8543.2746 | 17086.55
5.1.3 | DN100 PE watermain S&L incl. fittings & thrust blocks | m | 1372.92 | 149.1 | 204702.37
5.2 | Dry Services / Electrical |  |  |  | 345082.41
5.2.1 | Fire hydrants incl. valve & surface box | ea | 5 | 3276 | 16380
5.2.2 | Comms conduits P50 x2 incl. pits (NBN spec) | lm | 1301 | 54.41 | 70787.41
5.2.3 | Electrical conduits 100dia incl. trench & marker tape | m | 2380 | 62.75 | 149345
5.2.4 | DN150 PVC sewer S&L @ min grade incl. compaction test | m | 470 | 231 | 108570
P | PROVISIONAL ITEMS & DAYWORKS |  |  |  | 121372.28
P.1 | Provisional Sums & Quantities |  |  |  | 121372.28
P.1.1 | Dayworks - labourer incl. small tools | hr | 202.02 | 97.9511 | 19788.08
P.1.2 | Dayworks - project engineer | hrs | 50 | 164.9524 | 8247.62
P.1.3 | Rock excavation over & above measured qty (PROV) | m³ | 402.59 | 212 | 85349.08
P.1.4 | Dayworks - 20t excavator incl. operator | hrs | 45 | 177.5 | 7987.5
|  |  |  | TOTAL | 2514870.23

## Budget
Albury Logistics Terminal - Heavy Pavements
INTERNAL COST BUDGET - CONFIDENTIAL - NOT FOR ISSUE
Client: Albury City Council / ARTC |  | Prepared: 30/06/2026 ¦ Rev 0 ¦ estimating team
Budget method: Cost Centre + Zones / Resource Breakdown
Item Code | Description | Cost Centre | Zone | Resource Category | BOQ ($) | Budget ($) | Notes
1.1.1 | Survey & set-out (all works) | Overheads / Prelims | Project Wide | Labour | 8893 | 6715
|  | Overheads / Prelims | Project Wide | Miscellaneous | 6418 | 4847
| 1.1.1 subtotal |  |  |  | 15311 | 11562
1.1.2 | Dilapidation surveys & CCTV existing assets | Overheads / Prelims | Project Wide | Labour | 6489 | 5691
|  | Overheads / Prelims | Project Wide | Miscellaneous | 4782 | 4194
|  | Overheads / Prelims | Project Wide | Plant and Equipment | 3024 | 2652
|  | Overheads / Prelims | Project Wide | Subcontract | 1421.24 | 1246
| 1.1.2 subtotal |  |  |  | 15716.24 | 13783
1.2.1 | Traffic management incl. TMP & permits | Overheads / Prelims | Project Wide | Labour | 42556 | 35084
|  | Overheads / Prelims | Project Wide | Miscellaneous | 28130 | 23190
|  | Overheads / Prelims | Project Wide | Plant and Equipment | 20834 | 17176
| 1.2.1 subtotal |  |  |  | 91520 | 75450
1.2.2 | Site office, amenities & temp fencing | Overheads / Prelims | Project Wide | Labour | 8484 | 6821
|  | Overheads / Prelims | Project Wide | Miscellaneous | 5139.69 | 4132
| 1.2.2 subtotal |  |  |  | 13623.69 | 10953
2.1.1 | Trim & proof roll subgrade (incl. Level 1 testing) | Earthworks | Zone B | Plant and Equipment | 9856 | 7945
|  | Earthworks | Zone B | Labour | 4235.3 | 3415
| 2.1.1 subtotal |  |  |  | 14091.3 | 11360
2.1.2 | Bulk earthworks - cut to fill on site (refer dwg C-104) | Earthworks | Zone B | Plant and Equipment | 28768 | 24756 | quote expires 30/7
|  | Earthworks | Zone B | Labour | 9577 | 8241
|  | Earthworks | Zone B | Material | 6421 | 5525
| 2.1.2 subtotal |  |  |  | 44766 | 38522
2.2.1 | Batter shaping & topsoil respread 100mm | Earthworks | Zone B | Plant and Equipment | 7243 | 5913
|  | Earthworks | Zone B | Labour | 2940 | 2400 | allow for wet weather
|  | Earthworks | Zone B | Material | 1409 | 1151
|  | Earthworks | Zone B | Miscellaneous | 1331.2 | 1086
| 2.2.1 subtotal |  |  |  | 12923.2 | 10550
2.2.2 | Excavate unsuitable mat. & replace w/ approved fill | Earthworks | Zone C | Plant and Equipment | 29660 | 24649
|  | Earthworks | Zone C | Labour | 12198 | 10137 | site mtg 2/7 - qty TBC w/ super
|  | Earthworks | Zone C | Material | 6529.3 | 5426
| 2.2.2 subtotal |  |  |  | 48387.3 | 40212
2.2.3 | Import & place select fill (VENM cert. req.) | Earthworks | Zone A | Plant and Equipment | 77034 | 64595
|  | Earthworks | Zone B | Plant and Equipment | 51356 | 43064
|  | Earthworks | Zone A | Labour | 35737 | 29966 | sub quote - CivilTech 14/6
|  | Earthworks | Zone B | Labour | 23824 | 19978
|  | Earthworks | Zone A | Material | 17779 | 14908 | PC sum
|  | Earthworks | Zone B | Material | 11852.09 | 9938 | site mtg 2/7 - qty TBC w/ super
| 2.2.3 subtotal |  |  |  | 217582.09 | 182449
3.1.1 | Supply & lay 450dia RCP RRJ Cl.3 | Drainage | Zone A | Material | 31288 | 26949
|  | Drainage | Zone A | Labour | 17636 | 15191
|  | Drainage | Zone A | Plant and Equipment | 14657.98 | 12625
| 3.1.1 subtotal |  |  |  | 63581.98 | 54765
3.1.2 | Subsoil drainage 100dia slotted incl. sock & trench | Drainage | Zone A | Material | 26102 | 22203
|  | Drainage | Zone A | Labour | 19137.9 | 16279
| 3.1.2 subtotal |  |  |  | 45239.9 | 38482
3.2.1 | Supply & lay 600dia RCP RRJ Cl.4 | Drainage | Zone A | Material | 10699 | 9146
|  | Drainage | Zone A | Labour | 7003 | 5987
|  | Drainage | Zone A | Plant and Equipment | 5920.5 | 5062
| 3.2.1 subtotal |  |  |  | 23622.5 | 20195
3.2.2 | Connect new line to exist. pit incl. core & benching (refer dwg C-108) | Drainage | Zone C | Material | 8340 | 6552
|  | Drainage | Zone C | Labour | 6678.25 | 5248 | site mtg 2/7 - qty TBC w/ super
| 3.2.2 subtotal |  |  |  | 15018.25 | 11800
4.1.1 | Prime & 2 coat seal 14/7 (incl. sweep) | Pavements & Surfacing | Zone C | Subcontract | 79701 | 63523
|  | Pavements & Surfacing | Zone B | Subcontract | 34158 | 27224
|  | Pavements & Surfacing | Zone C | Material | 31244 | 24902
|  | Pavements & Surfacing | Zone B | Material | 13391 | 10672
|  | Pavements & Surfacing | Zone C | Plant and Equipment | 15452 | 12316 | check qty vs dwg rev D
|  | Pavements & Surfacing | Zone B | Plant and Equipment | 6623 | 5278
|  | Pavements & Surfacing | Zone C | Labour | 10657 | 8494
|  | Pavements & Surfacing | Zone B | Labour | 4567.67 | 3641
| 4.1.1 subtotal |  |  |  | 195793.67 | 156050
4.1.2 | AC14 intermediate course 50thk (C320) | Pavements & Surfacing | Zone C | Subcontract | 355519 | 268210
|  | Pavements & Surfacing | Zone C | Material | 150884.92 | 113830 | carried from tender est.
| 4.1.2 subtotal |  |  |  | 506403.92 | 382040
4.1.3 | Supply & place DGS40 subbase 200thk compacted | Pavements & Surfacing | Zone B | Subcontract | 63114 | 52148
|  | Pavements & Surfacing | Zone C | Subcontract | 63115 | 52148
|  | Pavements & Surfacing | Zone B | Material | 23514 | 19428 | site mtg 2/7 - qty TBC w/ super
|  | Pavements & Surfacing | Zone C | Material | 23513 | 19428
|  | Pavements & Surfacing | Zone B | Plant and Equipment | 12484 | 10315
|  | Pavements & Surfacing | Zone C | Plant and Equipment | 12484 | 10315
| 4.1.3 subtotal |  |  |  | 198224 | 163782
4.2.1 | Longitudinal linemarking & RRPMs as per dwgs | Pavements & Surfacing | Zone C | Subcontract | 15111 | 12561
|  | Pavements & Surfacing | Zone C | Material | 4799.71 | 3989
| 4.2.1 subtotal |  |  |  | 19910.71 | 16550
4.2.2 | Segmental paving to median (Urbanstone or equiv.) (refer dwg C-406) | Pavements & Surfacing | Zone C | Subcontract | 22171 | 19491
|  | Pavements & Surfacing | Zone C | Material | 8412 | 7395
|  | Pavements & Surfacing | Zone C | Plant and Equipment | 4261 | 3746
|  | Pavements & Surfacing | Zone C | Labour | 3124.81 | 2748
| 4.2.2 subtotal |  |  |  | 37968.81 | 33380
4.2.3 | AC10 wearing course 30thk (A15E on approaches) | Pavements & Surfacing | Zone C | Subcontract | 28914 | 24236 | rate ex GST
|  | Pavements & Surfacing | Zone D | Subcontract | 28913 | 24237
|  | Pavements & Surfacing | Zone C | Material | 8783 | 7362
|  | Pavements & Surfacing | Zone D | Material | 8783 | 7363
|  | Pavements & Surfacing | Zone C | Plant and Equipment | 5850 | 4904
|  | Pavements & Surfacing | Zone D | Plant and Equipment | 5850 | 4903 | quote expires 30/7
|  | Pavements & Surfacing | Zone C | Labour | 3782 | 3170
|  | Pavements & Surfacing | Zone D | Labour | 3781.5 | 3170
| 4.2.3 subtotal |  |  |  | 94656.5 | 79345
4.2.4 | Supply & place DGB20 basecourse 150thk | Pavements & Surfacing | Zone C | Subcontract | 42284 | 36592
|  | Pavements & Surfacing | Zone B | Subcontract | 18121 | 15683 | sub quote - CivilTech 14/6
|  | Pavements & Surfacing | Zone C | Material | 18563 | 16064
|  | Pavements & Surfacing | Zone B | Material | 7955 | 6885
|  | Pavements & Surfacing | Zone C | Plant and Equipment | 8716 | 7542
|  | Pavements & Surfacing | Zone B | Plant and Equipment | 3735 | 3233
|  | Pavements & Surfacing | Zone C | Labour | 7241 | 6266
|  | Pavements & Surfacing | Zone B | Labour | 3103 | 2685
| 4.2.4 subtotal |  |  |  | 109718 | 94950
5.1.1 | Service crossings - potholing & protection (Telstra/APA) | Utilities & Services | Zone D | Subcontract | 33391 | 27572
|  | Utilities & Services | Zone D | Material | 9176.56 | 7578 | check qty vs dwg rev D
| 5.1.1 subtotal |  |  |  | 42567.56 | 35150
5.1.2 | Sewer maintenance holes 1050dia precast | Utilities & Services | Zone D | Subcontract | 12786 | 10775
|  | Utilities & Services | Zone D | Material | 2534 | 2135
|  | Utilities & Services | Zone D | Miscellaneous | 1766.55 | 1490 | incl. cartage
| 5.1.2 subtotal |  |  |  | 17086.55 | 14400
5.1.3 | DN100 PE watermain S&L incl. fittings & thrust blocks | Utilities & Services | Zone D | Subcontract | 164252 | 131991
|  | Utilities & Services | Zone D | Material | 40450.37 | 32506
| 5.1.3 subtotal |  |  |  | 204702.37 | 164497
5.2.1 | Fire hydrants incl. valve & surface box | Utilities & Services | Zone D | Subcontract | 12395 | 10783
|  | Utilities & Services | Zone D | Material | 2455 | 2136
|  | Utilities & Services | Zone D | Miscellaneous | 1530 | 1331
| 5.2.1 subtotal |  |  |  | 16380 | 14250
5.2.2 | Comms conduits P50 x2 incl. pits (NBN spec) | Utilities & Services | Zone A | Subcontract | 52382 | 42882
|  | Utilities & Services | Zone A | Material | 11045 | 9042
|  | Utilities & Services | Zone A | Miscellaneous | 7360.41 | 6026
| 5.2.2 subtotal |  |  |  | 70787.41 | 57950
5.2.3 | Electrical conduits 100dia incl. trench & marker tape | Utilities & Services | Zone D | Subcontract | 68462 | 55157
|  | Utilities & Services | Zone A | Subcontract | 45642 | 36771
|  | Utilities & Services | Zone D | Material | 13359 | 10763
|  | Utilities & Services | Zone A | Material | 8906 | 7175
|  | Utilities & Services | Zone D | Miscellaneous | 7786 | 6272
|  | Utilities & Services | Zone A | Miscellaneous | 5190 | 4182
| 5.2.3 subtotal |  |  |  | 149345 | 120320
5.2.4 | DN150 PVC sewer S&L @ min grade incl. compaction test | Utilities & Services | Zone A | Subcontract | 89564 | 70945
|  | Utilities & Services | Zone A | Material | 19006 | 15055 | sub quote - CivilTech 14/6
| 5.2.4 subtotal |  |  |  | 108570 | 86000